## Slide 1: Smart Green-house Controller
by-
Naman Rastogi
Vinay Teja Koona
Anbarsan

## Slide 2: Problem Statement
Smart Greenhouse System is a IOT based system that can control green house using Android App remotely
Monitor and Control Temperature and Humidity based on set points
Monitor and Control internal Light and adjusts b/w Natural light

## Slide 3: Requirement / Task Specification
Control and monitoring system shall be employed with a Tiva Microcontroller, Temperature Soil Moisture sensors and LDRs and server is implemented with WAMP open source architecture and end user interface with an Android App.
Shall monitor Temperature and Soil Moisture of the Green House using sensors and provide real-time updates to Android App and Server database.
Shall control Temperature and Soil Moisture automatically based on the user profile settings set on the Android App by the user.
The System shall be able to control devices (switch on/off) on Green House - Lights, Fans, Bulbs, Water Pumps instantaneously and timer based control based on inputs from Android App.

## Slide 4: Project Plan
The project was divided and implemented in three separate parts - Android App Development, WAMP Server and database management, Microcontroller Programming and Interfacing.
The Android App Development and MySQLite database implementation to store data from WAMP server was assigned to Vinay Teja Koona
WAMP server implementation, PHP and python code development and Android App - Server connection through Android volley library was assigned to Anbarasan
Microcontroller programming and H/W connections to sensors and interface for PHP communication with MC was assigned to Naman Rastogi

## Slide 5: Working of System
Android App
Microcontroller
LDR
(Light Sensor)
LM35
(Temperature Sensor)
YL69 (Soil Moisture)
Light Bulb / LED
Fan
Heater
Water Pump
Data IN
Control OUT
Control
Command
Data
Live Data
Server

## Slide 6: State Diagram

## Slide 7: Task Completed
Measuring humidity and temperature and transfer live data to android app
  Problem : Transferring serial data periodically to android app
Turn devices on/off using android app
  Problem : Interfacing AC devices using relay circuit

## Slide 8: Task Completed
Turn a device on/off based on a specific timer
  Problem: Schedule a separate process to wait for a specific time
Control Temperature and Humidity based on set points given by user
  Problem: Interfacing AC fan and AC water motor

## Slide 9: Review, Test Plan
Controlling Temperature
Test Plan: Set a temperature set point
Required Result:
Fan should turn on when temperature is more than given set point and turn off otherwise
Light Bulb should turn on when temperature is below set point and turn off otherwise

## Slide 10: Review, Test Plan
Controlling Humidity
Test Plan: Set a humidity set point
Required Result:
1. Water motor should turn on when the humidity value is below a given set point for 5 seconds at a time, and never when the humidity is sufficient.

## Slide 11: Review, Test Plan
Controlling Light inside Green-House
Test Plan: Have a minimum amount of light inside the green-house.
Required Result:
1. Artificial Light should turn on when there is not enough light inside the green-house, and turn off and remain off when there is enough natural light inside.

## Slide 12: Performance Metrics
Instantaneous turn on/off of devices when input from phone.
Slight delay (0.5 – 1.5 sec) in timer as new process is created for each request.
Live data is updated every 2 seconds from server to the mobile app.

## Slide 13: Re-Usable Features
API made to enable serial communication from PHP to Microcontroller, enabling much simple commanding from PHP, to send data and receive data from microcontroller.
Android app can be reused with some modifications to control any other device.

## Slide 14: Future Enhancements
The system can be enlarged to a large scale, consisting of 100s of lights, many fans, many appliances, etc.
The system can be used in hospitals, enabling the doctors to monitor the patients remotely, recommending medicines, etc.